## Slide 1: Plant Cost Calculator
Andrew Bales, Chris Mills, Derrick Yee

## Slide 2: Purpose
Create tool to output accurate plant cost estimate
Will allow for better comparison of water treatment technologies
Intended Results:
  Transparency (lessen “data turbidity”)
  Better information for communities
  Big picture: clean water for more people

## Slide 3: Goals
Obtain reliable cost information
Create an easy-to-manipulate cost formula
Design friendly user interface
Ensure calculator is modular and robust

## Slide 4: Research
Established initial cost formula
Found, tabulated, and verified relevant cost data
Ran regression on relevant data for initial evaluation
Evaluation of program back-end and interface options

## Slide 5: Acquisition
Plant budgets via Tori and AguaClara affiliates
Handled conversion (exchange rates, etc.), compensation for filter addition in new models

## Slide 6: Cost Formula
User inputs
  Initial population
  Population growth rate
  Per capita demand
  Desired plant adequacy
  Hourly Wage

## Slide 7: Population & Timeline
P(t)= Po * (1+n/100)^t
  n: rate of growth
  t: plant adequacy time
  Po: initial population
Localization of growth rate
calculations?
Helps determine appropriate flow rate

## Slide 8: Demand & Construction
q = 150 [L/day*person ]
  Default: 150, but allow user to change
Auto-calculation of local materials, labor?
Fixed construction cost, variable costs predictable (e.g. plant operator)
Key Challenge: estimate cost via flow rate
  Design, build, train, operate, transfer
  Rough estimate: 10,000 USD/L/S of flow [L/S]

## Slide 9: Cost vs. Flow Rate
Cost (USD)
Flow Rate (L/s)

## Slide 10: Cost vs. Flow Rate

## Slide 11: Design
Imperative to have friendly user interface
Must be easily updated and altered
Considering NI labVIEW, HTML visual editors

## Slide 12: Beginning Stages
Interfacing with AguaClara Webpage

## Slide 13: Beginning Stages
Exploring Database Options

## Slide 14: Looking Forward
Cost Calculator Prototype
  Integrated database and cost regression equations
Front-end Development
Growing and Updating
  Interpret incoming data
  Cost by location

## Slide 15: Plant Cost Calculator
Andrew Bales, Chris Mills, Derrick Yee